## Slide 1: Jan 27th Update
Ben Spaude

## Slide 2: Coordinate Detector
Broken into layers, modules, bars and paddles
Paddles vs Pixels
maPMT 16 pixels but only 14 paddles (2 unused)
2352 (2688) total channels (pixels)

## Slide 3: CDet Rates
Run 5811, ~627k events
Tot >1ns
Rates vary a lot pixel to pixel
Problem we are trying to figure out
Not seen in test lab
Layer 1 rates higher than layer 2 as expected
Red line is average rate

## Slide 4: CDet Rates
Run 5811, ~627k events
Run 5811, ~627k events
Tot >1ns
Rates vary a lot pixel to pixel
Problem we are trying to figure out
Not seen in test lab
Layer 1 rates higher than layer 2 as expected
Red line is average rate

## Slide 5: CDet Tot (Pixels 256-271)
UNUSED
UNUSED
Similar shapes for each set of 4
Shapes seem to indicate similar gain
Source of rate probably not from widely varying gain
Sensitive to noise threshold?
408k
424k
413k
7k
4k
47k
46k
80k
130k
210k
163k
25k
73k
41k

## Slide 6: CDet Tot w/ average tot cut
3k
149k
159k
152k
2k
20k
20k
35k
11k
70k
90k
56k
32k
19k

## Slide 7: Average Tot
Average ~ 12-15ns

## Slide 8: Average Tot

## Slide 9: CDet Rates w/ average TOT cut
Count hit in pixel only if
Drastically reduces rate

## Slide 10: CDet Rates w/ average TOT cut
Count hit in pixel only if
Drastically reduces rate

## Slide 11: BACKUP