## Slide 1: October 7th Update
Ben Spaude

## Slide 2: Coordinate Detector
Plastic Scintillating Detector (Vinyl toluene)
Broken into layers, modules, bars and paddles
maPMT & NINO Cards
Can utilize ADC or TDC signals
2352 total channels

## Slide 3
“Raw” – All data w/ timing cuts
“Good” – has position cuts

## Slide 4
2ns “pulse” due to firmware, 2ns bit divided by fine-time calibration

## Slide 5
Ref Signal typically comes in at LE~50ns
Should always come in at approx. same time-jitter in trigger causes deviation in ref signal LE time

## Slide 6
Missing a couple bars & paddles
Where missing in layer 1, present in layer 2

## Slide 9
*Should say Paddle, not bar

## Slide 10: BACKUP SLIDES